LightSketch: A sketch modeling program for lighting analysis

Keywords

Freehand Sketching, Lighting Analysis, Visualization

Abstract

Light-Sketch is a software program that merges traditions of fast
exploratory design tools with robust analysis and visualization techniques.
It enables an architect to rapidly sketch the lighting systems for a model
and quickly see fine-grained performance details.  The systems analyzed are
both electric and daylight.  This integrative approach enables designers to
dynamically assess overall lighting quality, and also energy performance.
In this paper, we will examine related work on sketching, modeling, lighting
simulation, and describe the new system architecture and implementation.  We
will conclude by illustrating scenarios of how a designer could use this
modeler during the conceptual design phase.

With current technologies, lighting analysis can be a difficult and tedious
process.  Traditionally, two distinct steps analyzing daylight and electric
light are required for determining performance.  Historically, physical
models have been used for simulating daylight.  Although physical models are
easy to construct, they may require complex auxiliary apparatus in order to
gain meaningful information from them.  For example, artificial sky chambers
and sensors provide a robust way of comparing designs across temporal and
other variations in sunlight.  Another limitation of physical models is that
there is no practical way of scaling electric lighting systems for physical
simulation.

Although computer programs have provided architects with robust alternatives
for lighting simulation, they are difficult to use early in the design
process since their input formats are rigid requiring either detailed
textual information or, when graphical, require the user to set a number of
parameters through menu and dialog boxes.  Hence a gulf exists between
flexible schematic design tools and robust analysis.  As a result, it is
exceedingly difficult for designers to go through many design and test
cycles with current technologies.  We propose Light-Sketch, a program that
will allow for architects to quickly sketch a space and see multidimensional
lighting performance.

The Light-Sketch modeler handles a series of lighting vocabulary and model
geometry and links them to high-performance simulation and visualization
environment.  Complex lighting environments can be created through two
levels of recognition, symbols and spatial relations.  For example, a line
can translate into a wall, circle as light source.  Compound symbols include
overlapping lines as window, T-connect lines as a room, circle-overlap-line
as wall light, and circle outside-room as outdoor light sources.  The
language is currently being developed in conjunction with architects and
lighting designers.  This in turn is linked to high-quality simulation and
visualization component that enables an architect to rapidly inspect
building performance.

Light-Sketch is realized by three main components.  First, the Satin toolkit
(Hong, Landay 2000) is used to provide for a freehand sketching environment
that has symbol recognition and management for drawing sheets.  Gesture
recognition has been developed through the use of Quill (Long et. al, 1999).  A
custom complex object parser then creates the environment and translates it
to the lighting simulation (Ward, 1994) and visualization environment
(Glaser and Ubbelohde in press).  The visualization environment allows for rapid
inspection multidimensional building performance variables related to
lighting.  Within the visualization environment, the designer can also
specify performance criteria to compare with the sketched design and
understand environmental consequences.  In totality, Light-Sketch allows an
architect to draw a few strokes and see, in dense detail, the lighting
performance of a model.styles is as follows:

References

Glaser, D. and Ubbelohde, M. (in press) Techniques for Managing Planar Data. Building and Environment.

Hong, J. and Landay, J., (2000) SATIN: A Toolkit for Informal Ink-based Applications. In UIST 2000, ACM Symposium on User Interface Software and Technology, CHI Letters , 2(2), p. 63-72.

Long, Jr.,A. C., Landay, J.A., and Rowe, L. A. (1999) Implications for a gesture design tool CHI Letters: Human Factors in Computing Systems (SIGCHI ‘99), 1(1):40–47, May.

Ward, G., The RADIANCE Lighting Simulation and Rendering System Computer Graphics , July 1994.